10kV High Voltage Power Supply Input

Incoming switchgear

VFD

Dry-type phase-shifting transformer TC	Power cabinet	PC	Control cabinet	CC

VFD Input Pre-charging cabinet	A/B/C

T1

R

3

3	U1

3	V1

3	W1

3	U2

3	V2

3	W2	2

3	U3

3	V3	QF6	QF5

2

QF3	QF2	QF1

QF7

3

3

KM11        KM12        KM13

3	W3	2	2	2	2	4	4	3	3	3

3	3	U4

Output cabinet	3	V4	KM1

3	W4

KM2

2

QF4

U1/V1/W1	 U/V/W VFD Output

Heating

Power	 Supply

PE

Fan

Switching power supply unit

Control power input	Power supply input         water cooling system

AC220V/3kVA 50Hz

AC380V/50kVA 50Hz

Motor

注：虚框内为变频厂家供货范围